물품내역서

No.	품목	규격	제품번호	수량	단위	제조사
1	3 mL syringe	100 pcs/pk	4020-000V0	15	pk	HENKE-JECT
2	QuEChERS EN Method Dispersive-SPE KIT	100 pcs/pk	PSA-KIT-01	5	pk	BEKOlut
3	QuEChERS EN Method Extraction KIT	50 pcs/pk	EN-01-050	10	pk	BEKOlut
4	50 mL Conical tube	500/cs	50050	1	cs	SPL
5	Hypersil Gold	2.1 X 100 mm, 1.9 µL	25002-102130	1	ea	Thermo Fisher Scientific
6	GC column, DB-5MS UI	0.25 mm X 30 m, 0.25 µm	122-5532UI	1	ea	Agilent Technologies
7	vial, screw top, amber, write-on spot 2 mL	100/pk	5182-0716	15	pk	Agilent
8	screw cap, bonded blue, PTFE/red silicone septa	100/pk	5190-7024	8	pk	Agilent
9	screw cap, blue, preslit PTFE/silicone	100/pk	5183-2076	8	pk	Agilent
10	methanol hypergrade for LC-MS LiChrosolv	2.5 L	1.06035.2500	4	ea	Merck
11	PMP Volumetric Flask	25 mL	VI.671.95	12	ea	VITLAB
12	PMP Volumetric Flask	50 mL	VI.672.95	12	ea	VITLAB
13	대용량 에탄올	18 L, GR	E0690	2	ea	Samchun
14	대용량 메탄올	18 L, GR	A1762	2	ea	Samchun
15	대용량 아세톤	18 L, GR	M1447	2	ea	Samchun
16	Wisd PP Tubes, Autoclavable	Φ 16 × 100 mm, 10 mL, 2,500/cs	DM.Tub3709	1	cs	싸이랩코리아
17	Consumables Set 16M&H		26330	1	pcs	Anton-paar
18	스테인리스 대용량 믹서	3.2 L	NMF-3910SS	5	ea	한일
19	와이프올 L25 에어포켓 와이퍼 대형	6카톤/cs	41703	3	cs	유한킴벌리
20	Nitrile gloves	S, 10 ea/pk	93743070	1	pk	SUPRENO
21	15 mL Snap tube, PP	500/cs	50215	2	cs	SPL
22	10 mL Pipette Tips	18 ea/pk	702608	12	pk	BRAND
23	ABDOS Sterile Filter Tip, Hinged Rack: Set of 96 pcs	100-1000 μL, 960/pk	AB.P11037	2	pk	ABDOS
24	Afla test	25/box	G1024	15	box	VICAM
25	GF/C Glass microfiber filters	55 mm, 1.2 μm, 100/pk	1822-055	10	pk	Whatman
26	SuporⓇ-450 Membrane Filter	47 mm, 0.45 μm, 100/pk	60173	5	pk	PALL corporation
27	Methanol gradient grade for liquid chromatography LiChrosolvⓇ	4 L	1.06007.4000	2	ea	Supelco
28	Acetonitrile gradient grade for liquid chromatography LiChrosolvⓇ	4 L	1.00030.4000	6	ea	Supelco
29	LC Column, X Bridge C18	4.6 X 250 mm, 5 μm	186003117	1	ea	Waters
30	n-Hexane for liquid chromatography LiChrosolvⓇ	4 L	1.04391.4000	4	ea	Supelco
31	Technical buffer pH 4.01	250 mL	51350004	1	ea	METTLER TOLEDO
32	Technical buffer pH 7.00	250 mL	51350006	1	ea	METTLER TOLEDO
33	Technical buffer pH 10.00	250 mL	51350010	1	ea	METTLER TOLEDO
34	블로워브러시	52×119	UN1102	2	ea	AS ONE
35	Nitric acid	1 L	1.00456.1000	6	ea	Supelco
36	초자세척용 주방세제 리필용	1.2 L		5	ea	Tamsaa
37	초자세척용 주방세제 말통	13 L		1	ea	Tamsaa
38	알루미늄 호일	30cm*30m		5	ea	삼진
39	보관용 봉투	25*35cm, 30매		5	ea	크린랲
40	Benzo[a]pyrene solution	1 mL	CRM48665	1	ea	Sigmaaldrich
41	Sodium Chloride	1 kg, EP	60137	5	ea	OCI
42	Sodium Sulfate, Anhydrous	500 g	6639-1B	5	ea	KANTO
43	Ethanol gradient for liquid chromatography	4 L	1.11727.4000	2	ea	Merck
44	BTI 말굽안전깔때기 세트	Red, 산 (6inch 안전깔때기, 도킹어댑터, 20L 말굽통, 스파웃엣지 & BTI배기필터)	SF-6RF	1	set	SAFETY LINE
45	웨이스트탑 퍼포먼스	20L (말굽통, 스파웃엣지, 배기필터 w/BTI)	WT-FS20P	1	set	SAFETY LINE
46	Exhaust filter w/Break-thru Indicator	1/4 NPT Type	WT-btiEF23	10	ea	SAFETY LINE
47	말굽통	20 L, HDPE	WT-20	4	ea	SAFETY LINE
48	3M Petrifilm Aerobic Count Plates	50 pcs/pk	PP-6406	12	pk	3M
49	3M Petrifilm Yeast and Mold Count Plates	50 pcs/pk	PP-6417	12	pk	3M
50	PowerPrep™ Direct NA Extraction Kit	50 preps/kit	RE0301	10	kit	코젠바이오텍
51	PowerChek™ E.coli & Shigella Real-time PCR Kit	48 strips/kit	R0181C	7	kit	코젠바이오텍
52	PowerChek™ Pathogen Triplex Real-time PCR Kit (Sal,Sta,Pseudomonas)	48 strips/kit	R1001C	7	kit	코젠바이오텍
53	10X PBS Buffer pH 7.4	1000 mL	AM9625	1	ea	Thermo Fisher Scientific
54	Self-C BI for Steam Sterilization	100/pk	BT20	1	pk	Terragene